## Electrical_Equipment_Planning
ELECTRICAL EQUIPMENT PLANNING & MOBILIZATION CHECKLIST (CABLE LAYING – PANEL INSTALLATION – EARTHING – TESTING – COMMISSIONING WORK)
Project
| Report No. |  |  |  | Date of Equipment Planning
| Location: |  |  |  | Ref. Codes:
| Contractor Name |  |  |  | Quantity:
Sr. No. | Activity | Equipment Type | Capacity / Model | Purpose of Use | Required Qty | Available Qty | Source (Own / Hire / Vendor) | Mobilization Date | Responsibility | Remarks
1 | Cable Laying | Cable Drum Jack / Stand | Up to 1000 m Drum | Cable Pulling and Unrolling |  |  |  |  | Contractor
2 | Cable Termination | Hydraulic Crimping Tool | Up to 400 mm² | Cable Termination and Glanding |  |  |  |  | Contractor
3 | Panel Installation | Panel Lifting Trolley / Chain Block | Up to 1 Ton | Lifting & Positioning of Panels |  |  |  |  | Contractor
4 | Earthing Work | Earth Electrode Kit / Auger Machine | Standard | Earthing Installation Work |  |  |  |  | Contractor
5 | Conduit Laying | Conduit Bender / Threading Tool | Manual / Electric | Laying Conduit for Wiring |  |  |  |  | Contractor
6 | DB / Panel Wiring | Multimeter / Megger / Clamp Meter | Digital / Analog | Testing of Circuits & Continuity |  |  |  |  | Contractor
7 | Lighting Installation | Drilling Machine / Ladder | 500W / 1000W | Installation of Light Fixtures |  |  |  |  | Contractor
8 | Testing & Commissioning | Testing Kit / IR Tester | Up to 5 kV | Testing and Quality Verification |  |  |  |  | Contractor
9 | Trenching Work | Excavator / JCB | 0.9 m³ | Excavation for Cable Trench |  |  |  |  | Contractor
10 | Junction Box Installation | Hand Tools / Cutting Tools | Standard | Fixing Junction Boxes |  |  |  |  | Contractor
11 | Transformer Installation | Hydra / Crane | 12T / 15T | Lifting & Installing Transformers |  |  |  |  | Contractor
12 | Cable Tray Installation | Tray Cutting Machine / Rivet Gun | 14” / 7” | Cable Tray Fabrication and Fitting |  |  |  |  | Contractor
13 | Maintenance Work | Blower / Vacuum Cleaner | 1 HP / 2 HP | Cleaning / Maintenance Work |  |  |  |  | Contractor
14 | Power Supply & Support | Generator / Portable DG Set | 25–63 KVA | Power Backup for Site |  |  |  |  | Contractor
15 | Miscellaneous | Scaffolding / Platform | - | Access for Height Work |  |  |  |  | Contractor
Corrective action, if any:
Contractor | [5 empty] | PMC
Name: | [5 empty] | Name:
Date: | [5 empty] | Date:
Approved
Not Approved
Approved With Comments