## Fire_Equipment_Planning
FIRE FIGHTING EQUIPMENT PLANNING & MOBILIZATION CHECKLIST (FIRE LINE – PUMP ROOM – SPRINKLER – HYDRANT – TESTING – COMMISSIONING WORK)
Project
| Report No. |  |  |  | Date of Equipment Planning
| Location: |  |  |  | Ref. Codes:
| Contractor Name |  |  |  | Quantity:
Sr. No. | Activity | Equipment Type | Capacity / Model | Purpose of Use | Required Qty | Available Qty | Source (Own / Hire / Vendor) | Mobilization Date | Responsibility | Remarks
1 | Excavation for Fire Line | Excavator / Manual Tools | 0.9 m³ | Excavation for Fire Line Network |  |  |  |  | Contractor
2 | Pipe Laying (UG / Above Ground) | Pipe Roller / Laying Tools | 2”–10” | Laying of Fire Line Piping |  |  |  |  | Contractor
3 | Pipe Jointing & Welding | Welding Machine / Cutting Set | 400 Amp / Oxy-Acetylene | Jointing & Welding of Fire Lines |  |  |  |  | Contractor
4 | Grooving / Threading Work | Grooving / Threading Machine | 2”–6” | Pipe Grooving & Threading |  |  |  |  | Contractor
5 | Pump Room Installation | Fire Pump / Jockey Pump / Diesel Pump | 5 HP / 15 HP / Diesel Engine | Installation of Fire Pumps and Motors |  |  |  |  | Contractor
6 | Testing & Commissioning | Pressure Test Pump / Compressor | Up to 16 Bar | Testing and Commissioning of Fire Line |  |  |  |  | Contractor
7 | Sprinkler Installation | Scaffolding / Ladder | - | Installation of Sprinklers |  |  |  |  | Contractor
8 | Hydrant Installation | Drilling Machine / Spanner Set | 500W / 1000W | Installation of Hydrant Outlets |  |  |  |  | Contractor
9 | Hose Reel & Valve Fixing | Torque Wrench / Rivet Gun | Up to M30 Bolt | Fixing of Hose Reels and Valves |  |  |  |  | Contractor
10 | Painting & Identification Work | Airless Painting Machine | Electric / Pneumatic | Painting and Tagging of Lines |  |  |  |  | Contractor
11 | Fire Tank Work | Water Pump / Submersible Pump | 3 HP / 5 HP | Fire Water Tank Work |  |  |  |  | Contractor
12 | Control Panel Installation | Multimeter / Megger / Clamp Meter | Digital / Analog | Electrical Panel & Control Work |  |  |  |  | Contractor
13 | Pressure Testing | Hydro Test Pump | Up to 20 Bar | Pressure Testing of Lines |  |  |  |  | Contractor
14 | Final Commissioning & Flushing | Blower / Flushing Machine | 2 HP / 5 HP | Final Flushing & Commissioning |  |  |  |  | Contractor
15 | Maintenance & Safety Check | Generator / Lighting Tower | 25–63 KVA | Power and Lighting Support During Work |  |  |  |  | Contractor
Corrective action, if any:
Contractor | [5 empty] | PMC
Name: | [5 empty] | Name:
Date: | [5 empty] | Date:
Approved
Not Approved
Approved With Comments