## Mechanical_Equipment_Planning
MECHANICAL EQUIPMENT PLANNING & MOBILIZATION CHECKLIST (FABRICATION – INSTALLATION – TESTING – COMMISSIONING WORK)
Project
| Report No. |  |  |  | Date of Equipment Planning
| Location: |  |  |  | Ref. Codes:
| Contractor Name |  |  |  | Quantity:
Sr. No. | Activity | Equipment Type | Capacity / Model | Purpose of Use | Required Qty | Available Qty | Source (Own / Hire / Vendor) | Mobilization Date | Responsibility | Remarks
1 | Pipeline Fabrication | Pipe Cutting Machine | Up to 10” Pipe | Cutting & Preparation of Pipes |  |  |  |  | Contractor
2 | Pipeline Installation | Pipe Threading Machine | 2”–12” | Threading & Grooving of Pipes |  |  |  |  | Contractor
3 | Tank / Vessel Erection | EOT Crane / Hydra | 10–20 Ton | Tank or Equipment Lifting & Erection |  |  |  |  | Contractor
4 | Welding Work | Welding Machine | 400 Amp | Welding of Joints & Structures |  |  |  |  | Contractor
5 | Cutting & Grinding | Cutting Machine / Grinder | 14” / 7” | Cutting / Grinding of Pipe Edges |  |  |  |  | Contractor
6 | Alignment & Fitting | Chain Block / Pull Lift | 3 Ton / 5 Ton | Pipe Alignment & Fitting Support |  |  |  |  | Contractor
7 | Testing & Commissioning | Pressure Pump / Test Pump | Up to 100 Bar | Pressure Testing & Commissioning |  |  |  |  | Contractor
8 | Hydro Testing | Compressor / Pneumatic Pump | 5 HP / 10 HP | Hydro Test / Pneumatic Test |  |  |  |  | Contractor
9 | Insulation Work | Insulation Cutter / Roller | - | Thermal Insulation & Cladding Work |  |  |  |  | Contractor
10 | Painting Work | Airless Painting Machine | Electric / Pneumatic | Final Painting of Pipeline / Equipment |  |  |  |  | Contractor
11 | Material Handling | Forklift / Loader | 3 Ton / 2 m³ | Material Loading / Unloading |  |  |  |  | Contractor
12 | Lifting Work | Chain Pulley Block | 2 Ton / 3 Ton | Erection Support |  |  |  |  | Contractor
13 | Maintenance & Support | Generator | 25–63 KVA | Power Supply for Site |  |  |  |  | Contractor
14 | Utility Work | Water Pump / Diesel Pump | 5 HP | Water / Fuel Transfer |  |  |  |  | Contractor
15 | Miscellaneous | Scaffolding / Ladder | - | Access for Height Work |  |  |  |  | Contractor
Corrective action, if any:
Contractor | [5 empty] | PMC
Name: | [5 empty] | Name:
Date: | [5 empty] | Date:
Approved
Not Approved
Approved With Comments