## Plumbing_Equipment_Planning
PLUMBING EQUIPMENT PLANNING & MOBILIZATION CHECKLIST (WATER SUPPLY – DRAINAGE – SANITARY – TESTING – COMMISSIONING WORK)
Project
| Report No. |  |  |  | Date of Equipment Planning
| Location: |  |  |  | Ref. Codes:
| Contractor Name |  |  |  | Quantity:
Sr. No. | Activity | Equipment Type | Capacity / Model | Purpose of Use | Required Qty | Available Qty | Source (Own / Hire / Vendor) | Mobilization Date | Responsibility | Remarks
1 | Excavation for Plumbing Lines | Excavator / Manual Tools | 0.9 m³ | Excavation for Plumbing Pipelines |  |  |  |  | Contractor
2 | Pipe Laying (UG Drainage / Water) | Pipe Laying Tools / Roller | 2”–12” | Laying Water & Drainage Lines |  |  |  |  | Contractor
3 | Jointing & Fitting | Pipe Wrench / Chain Vice | Standard | Jointing & Fixing of Pipes |  |  |  |  | Contractor
4 | Threading & Cutting | Pipe Threading Machine / Cutting Machine | 2”–6” | Cutting / Threading of Pipes |  |  |  |  | Contractor
5 | Pump Installation | Water Pump / Submersible Pump | 2 HP / 5 HP | Installation of Pumps & Motors |  |  |  |  | Contractor
6 | Testing & Commissioning | Pressure Test Pump / Air Compressor | Up to 10 Bar | Pressure / Leak Testing |  |  |  |  | Contractor
7 | Overhead Tank Work | Scaffolding / Ladder | - | Installation of Overhead Tanks |  |  |  |  | Contractor
8 | Bathroom / Toilet Fittings | Drilling Machine / Spanner Set | 500W / 1000W | Bathroom & Sanitary Fixture Installation |  |  |  |  | Contractor
9 | Rainwater Piping | PVC / CI Pipe Cutter | Standard | Rainwater Line Laying |  |  |  |  | Contractor
10 | Valve Chamber Work | Concrete Cutter / Breaker | 14” / 7” | Chamber Construction Work |  |  |  |  | Contractor
11 | Sump Connection | Submersible Pump | 3 HP / 5 HP | Connecting Sump to Line |  |  |  |  | Contractor
12 | Water Supply Connection | Crimping / Press Tool | Manual / Electric | Connecting Water Supply Lines |  |  |  |  | Contractor
13 | Finishing & Leak Testing | Leak Test Gauge / Pressure Pump | Up to 16 Bar | Final Testing & Inspection |  |  |  |  | Contractor
14 | Maintenance / Flushing | Water Jet / Blower | 2 HP | Cleaning & System Flushing |  |  |  |  | Contractor
15 | Miscellaneous Plumbing Support | Generator / Lighting Setup | 25–63 KVA | Temporary Power & Lighting Support |  |  |  |  | Contractor
Corrective action, if any:
Contractor | [5 empty] | PMC
Name: | [5 empty] | Name:
Date: | [5 empty] | Date:
Approved
Not Approved
Approved With Comments