## 1
CHECKLIST FOR AHU INSTALLATION
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | AHU foundation, pad, vibration isolators installed
2 | AHU alignment, leveling, position per layout
3 | Duct, chilled water, drain piping connected
4 | Drain pan clean, slope provided, drain water-sealed
5 | Filters installed without gaps/bypass
6 | Fan, coil, motor, casing installed securely
7 | Electrical power/control connections with earthing
8 | Access doors & service clearance available
9 | OEM startup trial run conducted, performance verified
10 | Airflow, coil temp, static pressure, motor current recorded
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments