## 1
CHECKLIST FOR PRE-CONSTRUCTION & MOBILIZATION - ELECTRICAL
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Single line diagrams (SLD) and layouts approved
2 | Temporary power and DG backup arranged
3 | Transformer, HT/LT panels, and cables inspected & delivered
4 | Cable trench routes marked and approved
5 | Earthing pit locations fixed and approved
6 | Conduits, cable trays, and supports stacked
7 | Testing instruments (megger, earth tester, multimeter) calibrated
8 | Licensed electricians and supervisors mobilized
9 | Lock-out/Tag-out (LOTO) system implemented
10 | Lighting poles, fixtures, and switchgear delivered
11 | Safety plan for electrical works approved
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments