## 1
CHECKLIST FOR PRE-CONSTRUCTION & MOBILIZATION - PLUMBING
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Plumbing drawings and manhole details approved
2 | Water supply and drainage tie-in points finalized
3 | Pipes, tanks, pumps, fittings inspected and stored
4 | Excavation routes for external services marked
5 | Testing pumps and pressure gauges calibrated
6 | Skilled plumbers and supervisors mobilized
7 | Temporary water storage for testing arranged
8 | Safety precautions for confined space explained
9 | Method statement for testing and installation approved
10 | Coordination with civil & electrical for sleeves ensured
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments