## 2
CHECKLIST FOR ACCESS CONTROL & ATTENDANCE SYSTEM
Project
Report No. |  | Date of Inspection:
Ref.Drg.No. |  | Ref. Codes:
Location: |  | Quantity:
S.NO. | Description | YES | NO | Remarks
1 | Reader installed at correct height (1.2–1.4 m from floor level).
2 | EM lock/door strike fixed and tested for smooth operation.
3 | Exit push button/REX sensor installed inside for egress.
4 | Door status sensor installed to monitor open/closed condition.
5 | Controller panel installed in secure location with UPS backup.
6 | Fire alarm integration tested – door unlocks automatically on fire alarm trigger.
7 | User enrollment/card registration tested and log generated.
8 | Door operation tested (entry/exit, emergency release).
Corrective action, if any:
Contractor |  | PMC
Name: |  | Name:
Date: |  | Date:
Approved
Not Approved
Approved With Comments