## 7
CHECKLIST FOR BUILDING MANAGEMENT SYSTEM (BMS)
Project
Report No. |  | Date of Inspection:
Ref.Drg.No. |  | Ref. Codes:
Location: |  | Quantity:
S.NO. | Description | YES | NO | Remarks
1 | BMS control panel/DDC installed and powered.
2 | Sensors (temperature, humidity, pressure, CO2) installed as per design.
3 | Actuators, VAV controllers, and interface modules wired and tagged.
4 | IO point-to-point testing done between field devices and DDC.
5 | BMS workstation graphics verified with live field values.
6 | Alarm, logging, and trending functions tested.
7 | Integration with HVAC, fire alarm, access, and lighting systems tested.
Corrective action, if any:
Contractor |  | PMC
Name: |  | Name:
Date: |  | Date:
Approved
Not Approved
Approved With Comments