## 1
CHECKLIST FOR DATA & NETWORKING (STRUCTURED CABLING)
Project
Report No. |  | Date of Inspection:
Ref.Drg.No. |  | Ref. Codes:
Location: |  | Quantity:
S.NO. | Description | YES | NO | Remarks
1 | Cat-6/6A/STP cabling routed in cable trays/raceways with supports.
2 | Bending radius maintained as per standard, no sharp bends.
3 | Faceplates, patch panels, and outlets installed with proper labeling.
4 | Cable dressing done neatly inside racks with Velcro ties.
5 | RJ45 terminations tested with LAN tester/Fluke tool.
6 | Fiber optic cabling installed with proper splicing, patch cords, and OTDR test reports.
7 | Network rack installed with grounding, power strip, and cooling provision.
8 | Switches, routers mounted, powered, and tested.
Corrective action, if any:
Contractor |  | PMC
Name: |  | Name:
Date: |  | Date:
Approved
Not Approved
Approved With Comments