## 3
CHECKLIST FOR PUBLIC ADDRESS & BGM SYSTEM
Project
Report No. |  | Date of Inspection:
Ref.Drg.No. |  | Ref. Codes:
Location: |  | Quantity:
S.NO. | Description | YES | NO | Remarks
1 | Amplifier rack installed, wired, and grounded.
2 | Ceiling/wall-mounted speakers fixed at approved locations with polarity maintained.
3 | Speaker wiring routed in conduits/trays with proper tags.
4 | PA console/microphone tested for announcements.
5 | Emergency override tested from fire alarm integration.
6 | Zone-wise audio tested for clarity and minimum sound level (≥ 65 dB).
Corrective action, if any:
Contractor |  | PMC
Name: |  | Name:
Date: |  | Date:
Approved
Not Approved
Approved With Comments