## 9
CHECKLIST FOR TESTING & COMMISSIONING – COMBINED CHECKS
Project
Report No. |  | Date of Inspection:
Ref.Drg.No. |  | Ref. Codes:
Location: |  | Quantity:
S.NO. | Description | YES | NO | Remarks
1 | Continuity and insulation resistance test performed for all ELV cabling.
2 | End-to-end verification of each device point completed.
3 | System redundancy and UPS backup tested for racks and servers.
4 | Integration checks (Fire alarm + PA + Access Control + BMS).
5 | Remote monitoring tested where applicable.
6 | As-built drawings updated with final device locations.
Corrective action, if any:
Contractor |  | PMC
Name: |  | Name:
Date: |  | Date:
Approved
Not Approved
Approved With Comments