## 1
CHECKLIST FOR DG SET & AMF PANEL
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Verify DG make, rating (kVA), and emission compliance certificate as per project requirements.
2 | Check DG set foundation, anti-vibration pads, fuel tank, and day tank connections with leakage check.
3 | Ensure DG canopy installation with acoustic treatment and ventilation louvres as per CPCB norms.
4 | Confirm DG exhaust pipe routed safely, insulated, cladded, and weatherproofed at exit.
5 | Check battery charger, starting battery, alternator wiring, and neutral/ body earthing.
6 | Verify AMF/ATS panel connections and simulate mains power failure for automatic transfer.
7 | Conduct no-load and full-load DG trial run and record parameters: voltage, frequency, current, PF, fuel consumption.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments