## 1
CHECKLIST FOR EARTHING & LIGHTNING PROTECTION
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Verify earth electrode type (GI/Copper plate or pipe) and depth as per IS 3043.
2 | Check earth pit construction, watering arrangement, and chamber covers.
3 | Measure earth resistance (≤1Ω for equipment, ≤5Ω for lightning).
4 | Confirm earthing strip laid with proper joints (welding/bolting) and anti-corrosion coating.
5 | Verify earthing provided for transformer, DG, panels, motors, cable trays, and DBs.
6 | Check lightning arrestor mounting, down conductor size, and pit connection.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments