## 1
CHECKLIST FOR FINAL TESTING & COMMISSIONING
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Conduct insulation resistance (IR) test of all feeders and record values.
2 | Perform transformer vector group test, ratio test, and BDV oil test.
3 | Test panel interlocks, relays, and breaker tripping under simulated fault conditions.
4 | Conduct DG auto-start and AMF panel test with full load run.
5 | Verify UPS autonomy test and battery bank backup.
6 | Perform RCCB/RCBO tripping tests on all DBs and record results.
7 | Conduct lux level survey, socket load test, and equipment load balancing.
8 | Verify earthing system and lightning protection test results.
9 | Ensure warning signage, danger boards, feeder labels, and mimic diagrams are fixed.
10 | Submit final commissioning report, test certificates, and as-built drawings to client/consultant.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments