## 1
CHECKLIST FOR LIGHTING & POWER POINTS
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Verify switchboards, sockets, and fixture locations as per approved drawings.
2 | Check point wiring circuits, circuit ID tags, and breaker protection rating.
3 | Ensure fixtures (LED, streetlight, floodlight) are mounted securely and aligned.
4 | Confirm all metallic fixtures bonded to earth continuity.
5 | Conduct lux level measurement inside workspaces and record compliance.
6 | Test all sockets for proper phase, neutral, and earth connections.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments