## 1
CHECKLIST FOR SOLAR PV SYSTEM
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Verify solar module make, wattage, and tilt orientation as per approved design.
2 | Check mounting structure alignment, grounding, and corrosion protection.
3 | Confirm string combiner boxes installed with fuses, SPD, isolators, and tagged.
4 | Verify DC cabling polarity, termination, and insulation test performed.
5 | Check inverter installation, ventilation, AC/DC terminations, and earthing.
6 | Conduct I-V curve test, insulation resistance test, and inverter grid synchronization trial.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments