## 2
CHECKLIST FOR HYDRANT SYSTEM
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Verify hydrant pipe material, size, and routing as per drawings.
2 | Confirm underground and aboveground hydrant pipes laid with protective coating.
3 | Ensure pipe joints are tested and welded/flanged properly.
4 | Check hydrant valves, landing valves, breeching inlets, and hose reels installed.
5 | Confirm pillar hydrant locations and spacing as per IS/NFPA.
6 | Verify hose boxes with double-door, glass-front type provided at designated points.
7 | Ensure fire hose pipes and nozzles are ISI-marked and placed inside hose boxes.
8 | Confirm MS pipe painting with “Fire Hydrant Line” marking and arrows.
9 | Hydrostatic pressure test of hydrant piping completed with consultant witness.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments