## 1
CHECKLIST FOR DOORS
Project
Report No. |  |  | Date of Inspection:
Ref.Drg.No.
S.No. | Description of Activity |  |  | YES | NO | Remarks
1 | Verify door frame alignment (plumb, level) tolerance ≤ 2 mm.
2 | Confirm frames grouted with concrete/PUF foam, no voids at joints.
3 | Fire doors: check UL/ISI certification, intumescent strips, self-closer, panic bar.
4 | HMP doors: confirm rust-proof primer, welded stiffeners, smooth finish.
5 | Flush doors: IS-marked, termite resistant, edges sealed with hardwood.
6 | Metal doors: epoxy/polyester powder coated, free of dents/corrosion.
7 | Wooden doors: polished/laminated uniformly, no cracks or warping.
8 | Glass doors: toughened/laminated, patch fittings SS304/316, edge polished.
9 | UPVC/Aluminum doors: drainage slots, EPDM gaskets, smooth locking.
10 | Test hardware (hinges, handles, locks, closers, stoppers) for durability.
11 | Test emergency egress function for fire exits with ≤20N closing force.
Corrective Action Any :
Contractor |  |  | PMC
Name: |  |  | Name:
Date: |  |  | Date:
Approved
Not Approved
Approved With Comments